## Slide 1: Safety Devices
Dr/ Mohamed Zakaria
Group: 29

## Slide 2: Safety Devices
  Protection devices presence in circuit is must
  Protection devices in continuous development
  Many types where made

## Slide 3: Safety Devices Types
Divide into 2 type
Over Current Devices
  Fuses
  Circuit Breaker
Residual Current Devices

## Slide 4: Theory of Operation
Fuses
Circuit Breaker
Residual Current Devices

## Slide 5: Fuses
Types

## Slide 6: DC Fuses
    Cartridge fuses
    Automotive fuses
    Resettable/Poly fuses
    Semiconductor fuses
    Overvoltage suppression

## Slide 7: AC Fuses
    Low Voltage Fuses
      Cartridge fuses
      Drop out fuses
      Rewireable fuses
      Striker fuse
      Switch fuse

## Slide 8: AC Fuses
High Voltage Fuses
  HRC fuses
  Expulsion type HRC fuses

## Slide 9: Fuses
Features
  Current Rating
  I square T Value
  Voltage Rating
  Operating Temperature

## Slide 10: Applications
Electrical wiring at home
Appliances like AC, Refrigerator, TV, Washing machine etc.
Laptops
Mobile Chargers
Automobiles (Cars, Trucks, Buses, etc).

## Slide 11: Circuit Breakers
Types
Low Voltage Circuit Breakers
  Molded Case Circuit Breaker (MCCB)
  Air Circuit Breaker (ACB)
  Miniature Circuit Breaker (MCB)
  Motor Protection Circuit Breaker (MPCB)

## Slide 12: Circuit Breakers
Medium Voltage Circuit Breakers
  Vacuum Circuit Breaker (VCB)
  SF6 Circuit Breaker

## Slide 13: Circuit Breakers
High Voltage Circuit Breakers
  Vacuum Circuit Breaker (VCB)
  SF6 Circuit Breaker
  Oil Circuit Breaker

## Slide 14: Circuit Breaker
Applications
Criteria of choosing
Calculations

## Slide 15: Circuit Breaker
Selection Tables
Manufacturers
Life span

## Slide 16: Residual Current Devices
Types
RCCB (Residual current circuit breaker)
RCBO (Residual current breaker with overload)
ELCB (Earth leak circuit breaker)

## Slide 17: Residual Current Devices
Sensitivity
High sensitivity: 5, 10, 30 mA (for direct-contact or life injury protection).
Medium sensitivity: 100, 300, 500, 1000 mA (for fire protection).
Low sensitivity: 3, 10, 30 A (typically for protection of machine).

## Slide 18: Residual Current Devices
Limitations
Applications
Installation Types